## Slide 1
DIDACTIC SAS - ZA A29 Les Bleuets, 1800 Route des Bleuets, 76430 Etainhus, France - RCS 370 500 142.
Medical device class I – CE, read the information on the box carefully. Version EN V1-01-2020
PROTOCOL – TOILET BOWL LINER
Description | Hygienic, single use liner with easy-to-pull ties enclosing a super absorbent pad for stools, urine and biological fluids. Medical device class I – CE
Recommended for | Isolation for infection Functional investigations or treatments with biocides (markers, chemotherapy, etc.) when the regulations prohibit discharge into water systems Large commode buckets or bedpans (large models for obese patients), pans, and toilets.
Precautions of use | Wear appropriate EPI (gloves, single use apron) Use and dispose of according to your facility guidelines. Do not flush Plastic bags cause suffocation, keep out of the reach of children
Open the box and tear the first liner off the roll
Place the liner on the toilet. The liner protects the entire toilet bowl or seat. The pad is at the bottom of the liner (absorption up to 600 ml/20 oz of biological fluids)
The patient performs body functions. Do not flush.
Remove the used liner, pull on the drawstrings and knot them. If necessary, tie a knot in the bag itself. Dispose of in the household waste or according to the facility protocol (hazardous waste in case of infections).
Instructions For Use